SECTION 11 66 23. 13

BASKETBALL EQUIPMENT

***** Draper, Inc. manufactures 15 models of folding basketball backstops. Eleven models are ceiling suspended and two are wall mounted. There are four methods of folding - forward, rear, side and up. There are backstops with straight main stems and others with bent stems. Refer to Draper product literature for the advantages of each type of folding backstop and assistance in selecting from the following models the backstop most appropriate for specific project conditions.

EZ Fold TF-20		Ceiling suspended, forward folding, front braced, under 28'-4" (8.64 m).

EZ Fold TF-20-B	Ceiling suspended, forward folding, front braced, over 28-4" (8.64 m).

EZ Fold TF-20S		Ceiling suspended, forward folding, front braced, bent stem, under 27'-7" (8.4 m).

EZ Fold TF-20S-B	Ceiling suspended, forward folding, front braced, bent stem, over 27'-7" (8.4 m).

EZ Fold TF-20J		Ceiling suspended, forward folding, rear braced, under 28'-4" (8.64 m).

EZ Fold TF-20J-B	Ceiling suspended, forward folding, rear braced, over 28'-4" (8.64 m).

EZ Fold TB-25		Ceiling suspended, rear folding, rear braced, under 28'-4" (8.64 m).

EZ Fold TB-25-B	Ceiling suspended, rear folding, rear braced, over 28'-4" (8.64 m).

EZ Fold TB-25S		Ceiling suspended, rear folding, rear braced, bent stem, under 27'-7" (8.4 m).

EZ Fold TB-25S-B	Ceiling suspended, rear folding, rear braced, bent stem, over 27'-7" (8.4 m).

EZ Fold TB-25R		Ceiling suspended, rear roll folding, rear braced, under 28'-4" (8.64 m).

EZ Fold TB-25R-B	Ceiling suspended, rear roll folding, rear braced, over 28'-4" (8.64 m).

EZ Fold TBS-26-B	Ceiling suspended, side folding, side braced.

EZ Fold DGW		Wall mounted, side folding.

EZ Fold DUW		Wall mounted, up folding.

For each of the above Draper folding basketball backstops there are options for method of operation, backboard, goal, and padding. Refer to Draper product literature for availability of options and guidelines for design, selection, and installation of basketball backstops. Various models and options are listed in this specification section, The specifier will need to select the appropriate options and delete non-applicable models and options.

PART 1 - GENERAL

1.1	SUMMARY

A.	Section includes: [Ceiling suspended] [Wall mounted], [forward] [rear] [side] [up] folding, [manually] [electrically] operated basketball backstops with backboard, goal, winch, [height adjuster,] [backboard edge padding,] and net.

B.	Related sections:

***** List other specification sections dealing with work directly related to this section such as the following. *****

1.	Section [_____] - [_____]: Structural [walls to receive wall mounted backstops.] [roof framing to receive ceiling suspended backstops.]

2.	Section 09 64 66 [09640] - Wood Flooring: Layout and painting of court lines to be coordinated with installation of basketball backstops.

3.	Section 09 65 66 [09650] - Resilient Flooring: Layout of court lines to be coordinated with installation of basketball backstops.

***** Backstops are provided with black or white powder coat finish. If desired, other powder coat colors are also available. Contact Draper for availability. *****

4.	Section 09 91 00 [09900] - Painting: Field painting of backstops.

5.	Section 11 66 23. 53 [11486] - Gymnasium Protection Accessories: Wall mounted protection pads at backstop locations.

6.	Section [___] - [__________]: Electrical supply, conduit, and wiring for motorized winch.

1.2	REFERENCES

***** List by number and full title reference standards referred to in remainder of the specification section. Delete non-applicable references. *****

A.	ANSI A208 - Particleboard, Mat-Formed Wood.

B.	ASTM A500 - Formed Welded Seamless Structural Tubing in Rounds and Shapes.

C.	ASTM F3731 - Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstop.

D.	ASTM B85 - Aluminum-Alloy Die Castings.

E.	ASTM B221 - Aluminum-Alloy Extruded Bar, Rod, Wire, Shape, and Tube.

1.3	SUBMITTALS

A.	Submit in accordance with Section 01 33 00 [01330] - Submittal Procedures:

1.	List of proposed products and product data.

2.	Shop drawings showing layout, elevations, dimensions, fabrication details, method of attachment, requirements for supplemental bracing or structural support members and necessary electrical wiring diagrams.

3.	Calculations for actual vertical and horizontal loads to be transmitted to structural [walls] [roof framing] supporting backstop assemblies.

4.	Manufacturer to provide calculations and reports for tests performed by an independent testing laboratory accredited by the American Association of Laboratory Accreditation (A2LA) that demonstrates compliance with minimum safety factors required by these specifications.

5.	Copy of warranties required by Paragraph 1.5 for review by Architect.

6.	Manufacturer's installation instructions.

1.4	QUALITY ASSURANCE

A.	All components including framing, backboard, goals, [electric] winches, [controls,] and accessories for basketball backstop assemblies as well as all other related gymnasium equipment products shall be products of a single manufacturer.

B.	Backstops shall be designed, fabricated, and installed to comply with National Collegiate Athletic Association (NCAA) and National Federation of State High School Associations (NFHS) regulations.

C. Backstops shall meet ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops.

1.5	WARRANTY

A.	Provide under provisions of Section 01 78 00 [01770] - Closeout Procedures:

1.	25 years warranty for basketball backstop structure.

***** All backboards manufactured by Draper, Inc. are furnished with lifetime limited warranty when installed on Draper backstop utilizing a goal brace. *****

2.	Lifetime warranty against breakage for backboards installed with goal brace.

3.	8 years warranty for bolt-on safety edge padding.

PARTS 2 - PRODUCTS

2.1	ACCEPTABLE MANUFACTURERS

A.	Acceptable Manufacturer: Draper, Inc. Sales offices and manufacturing facility located at 411 South Pearl Street, Spiceland, Indiana 47385-0425; 765-987-7999.

B.	Manufacturers of equivalent products submitted and approved in accordance with Section 01630 - Product Substitution Procedures.

2.2	MATERIALS

A.	Structural steel tubing: Steel, mechanical, round tubing conforming to ASTM A500.

B.	Clamps:

1.	Beam clamps: Split-A type with [7 square inches] [4516 square mm] minimum beam flange contact area and secured with 2 all thread bolts at each attachment point. Clamps shall be designed to be capable of supporting a minimum of 20,000 Lbs. each. Superstructure shall be designed with a minimum of four attachment clamps to produce a combined minimum attachment point safety factor of 75 to 1. Superstructure tubes shall be reinforced with bridging and/or bracing when truss centers exceed 10 feet (3.048 m).

2.	Component attachment clamps: Full surface type fabricated from [1/4 inch] [6 mm] thick steel or saddle style utilizing serrated clamping surface and minimum 5/8” U-Bolt.

3.	Goal brace: Type attaching behind goal mounting plate and directly to backstop main stem transferring load directly to structural frame.

C.	Extruded aluminum: ASTM B221, alloy 6063 Temper T5.

D.	Aluminum castings: ASTM B85.

E.	Particleboard: Solid core, 55 pounds per cubic foot density industrial grade complying with ASTM A208, Type 1, Grade 1-M-3 factory finished with phenolic resin sheet thermally fused to front and back surfaces.

***** Backstops are provided with black or white powder coat finish. If desired, other powder coat colors are also available. Contact Draper for availability. *****

F.	Finish: Factory applied [Black – RAL 9005] [White – RAL 9003] [other RAL color: __________________] powder coat in accordance with AAMA 2604.

2.3	CEILING SUSPENDED FORWARD FOLDING BACKSTOP

***** Draper, Inc. manufactures six models of ceiling suspended, forward folding backstop. For this type of backstop, select the model and appropriate attributes from the following options:

EZ Fold TF-20		Ceiling suspended, forward folding, front braced, under 28'-4" (8.64 m).

EZ Fold TF-20-B	Ceiling suspended, forward folding, front braced, over 28-4" (8.64 m).

EZ Fold TF-20S		Ceiling suspended, forward folding, front braced, bent stem, under 27'-7" (8.4 m).

EZ Fold TF-20S-B	Ceiling suspended, forward folding, front braced, bent stem, over 27'-7" (8.4 m).

EZ Fold TF-20J		Ceiling suspended, forward folding, rear braced, under 28'-4" (8.64 m).

EZ Fold TF-20J-B	Ceiling suspended, forward folding, rear braced, over 28'-4" (8.64 m).

******************************************************************************

***** Include the following paragraphs if Model EZ Fold TF-20 is required. *****

A.	Type: Ceiling suspended, forward folding, front braced basketball backstop; Model EZ Fold TF-20 as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [ [_____] [feet.] [m.] ] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by welding together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

2.	Top member of T frame: [4 inches] [102 mm] diameter, [11 gauge] [3.2 mm].

3.	Folding front brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Model EZ Fold TF-20-B is used for backstops with attachment heights greater than 28'-4" (8.64 m) above the floor. It is similar to Model EZ Fold TF-20 except that web braces are provided and bolted connections are used in lieu of welded ones to facilitate shipping. Include the following paragraphs if Model EZ Fold TF-20-B is required. *****

A.	Type: Ceiling suspended, forward folding, front braced basketball backstop; Model EZ Fold TF-20-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by bolting together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

3.	Folding front brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

5.	Web braces: Four [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] cross braces between side braces and main center stem.

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Include the following paragraphs if Model EZ Fold TF-20S is required. *****

A.	Type: Ceiling suspended, forward folding, front braced basketball backstop with bent main stem; Model EZ Fold TF-20S as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by welding together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Bent main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick]. Strut suspended diagonally from roof structure at 22 degrees angle from vertical. Bend at lower end provides vertical member of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

2.	Top member of T frame: [4 inches] [102 mm] diameter, [11 gauge] [3.2 mm].

3.	Folding front brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Model EZ Fold TF-20S-B is used for backstops with attachment heights greater than 27'-7" (8.4 m) above the floor. It is similar to Model EZ Fold TF-20S except that web braces are provided and bolted connections are used in lieu of welded ones to facilitate shipping. Include the following paragraphs if Model EZ Fold TF-20S-B is required. *****

A.	Type: Ceiling suspended, forward folding, front braced basketball backstop with bent main stem; Model EZ Fold TF-20S-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by bolted together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Bent main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick]. Strut suspended diagonally from roof structure at 22 degrees angle from vertical. Bend at lower end provides vertical member of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

3.	Folding front brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

5.	Web braces: Four [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] cross braces between side braces and main center stem.

E.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Include the following paragraphs if Model EZ Fold TF-20J is required. *****

A.	Type: Ceiling suspended, forward folding, rear braced basketball backstop; Model EZ Fold TF-20J as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by welding together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

2.	Top member of T frame: [4 inches] [102 mm] diameter, [11 gauge] [3.2 mm].

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking with positive latch in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Model EZ Fold TF-20J-B is used for backstops with attachment heights greater than 28'-4" (8.64 m) above the floor. It is similar to Model EZ Fold TF-20J except that web braces are provided and bolted connections are used in lieu of welded ones to facilitate shipping. Include the following paragraphs if Model EZ Fold TF-20-B is required. *****

A.	Type: Ceiling suspended, forward folding, rear braced basketball backstop; Model EZ Fold TF-20J-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by bolting together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking with positive latch in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

5.	Web braces: Four [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] cross braces between side braces and main center stem.

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

2.4	CEILING SUSPENDED REAR FOLDING BACKSTOP

***** Draper, Inc. manufactures six models of ceiling suspended, rear folding backstop. For this type of backstop, select the model and appropriate attributes from the following options:

EZ Fold TB-25		Ceiling suspended, rear folding, rear braced, under 28'-4" (8.64 m).

EZ Fold TB-25-B	Ceiling suspended, rear folding, rear braced, over 28'-4" (8.64 m).

EZ Fold TB-25S		Ceiling suspended, rear folding, rear braced, bent stem, under 27'-7" (8.4 m).

EZ Fold TB-25S-B	Ceiling suspended, rear folding, rear braced, bent stem, over 27'-7" (8.4 m).

EZ Fold TB-25R		Ceiling suspended, rear roll folding, rear braced, under 28'-4" (8.64 m).

EZ Fold TB-25R-B	Ceiling suspended, rear roll folding, rear braced, over 28'-4" (8.64 m).

******************************************************************************

***** Include the following paragraphs if Model EZ Fold TB-25 is required. *****

A.	Type: Ceiling suspended, rear folding, rear braced basketball backstop; Model EZ Fold TB-25 as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by welding together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

2.	Top member of T frame: [4 inches] [102 mm] diameter, [11 gauge] [3.2 mm].

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Model EZ Fold TB-25-B is used for backstops with attachment heights greater than 28'-4" (8.64 m) above the floor. It is similar to Model EZ Fold TB-25 except that web braces are provided and bolted connections are used in lieu of welded ones to facilitate shipping. Include the following paragraphs if Model EZ Fold TB-25-B is required. *****

A.	Type: Ceiling suspended, rear folding, rear braced basketball backstop; Model EZ Fold TB-25-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by bolting together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

5.	Web braces: Four [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] cross braces between side braces and main center stem.

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Include the following paragraphs if Model EZ Fold TB-25S is required. *****

A.	Type: Ceiling suspended, rear folding, rear braced basketball backstop with bent main stem; Model EZ Fold TF-25S as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by welding together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Bent main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick]. Strut suspended diagonally from roof structure at 22 degrees angle from vertical. Bend at lower end provides vertical member of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

2.	Top member of T frame: [4 inches] [102 mm] diameter, [11 gauge] [3.2 mm].

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

***** Model EZ Fold TB-25S-B is used for backstops with attachment heights greater than 27'-7" (8.4 m) above the floor. It is similar to Model EZ Fold TB-25S except that web braces are provided and bolted connections are used in lieu of welded ones to facilitate shipping. Include the following paragraphs if Model EZ Fold TB-25S-B is required. *****

A.	Type: Ceiling suspended, rear folding, rear braced basketball backstop with bent main stem; Model EZ Fold TB-25S-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by bolted together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Bent main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick]. Strut suspended diagonally from roof structure at 22 degrees angle from vertical. Bend at lower end provides vertical member of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

5.	Web braces: Four [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] cross braces between side braces and main center stem.

A.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

***** Include the following paragraphs if Model EZ Fold TB-25R is required. *****

A.	Type: Ceiling suspended, rear roll folding, rear braced basketball backstop; Model EZ Fold TB-25R as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by welding together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

2.	Top member of T frame: [4 inches] [102 mm] diameter, [11 gauge] [3.2 mm].

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

- Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

- Trolley Assemblies: Top of T-Frame mounted to heavy-duty trolley assemblies that roll on I-Beam tracks. Top of T-Frame rolls forward as backstop folds back.

******************************************************************************

***** Model EZ Fold TB-25R-B is used for backstops with attachment heights greater than 28'-4" (8.64 m) above the floor. It is similar to Model EZ Fold TB-25R except that web braces are provided and bolted connections are used in lieu of welded ones to facilitate shipping. Include the following paragraphs if Model EZ Fold TB-25R-B is required. *****

A.	Type: Ceiling suspended, rear folding, rear braced basketball backstop; Model EZ Fold TF-25R-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T design of back-to-back right triangles constructed by bolting together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

3.	Folding rear brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Diagonal side braces: [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm thick].

5.	Web braces: Four [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] cross braces between side braces and main center stem.

- Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

- Trolley Assemblies: Top of T-Frame mounted to heavy-duty trolley assemblies that roll on I-Beam tracks. Top of T-Frame rolls forward as backstop folds back.

******************************************************************************

2.5	CEILING SUSPENDED SIDE FOLDING BACKSTOP

***** Draper, Inc. manufactures one model of ceiling suspended, side folding backstop, EZ Fold TBS-26-B. Use the following paragraphs to specify Model EZ Fold TBS-26-B. *****

A.	Type: Ceiling suspended, side folding, side braced basketball backstop; Model EZ Fold TBS-26-B as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Required height of backstop can be specified in this section or indicated on Drawings. To eliminate potential for conflicts, do not indicate dimensions in both locations. Typically the backstop pivot point shall not be more than 15 inches (381 mm) from supporting roof structure. *****

B.	Distance from court floor to backstop attachment at roof structure: [[_____] [feet.] [m.]] [As indicated on Drawings.]

C.	Main frame: Rigid T triangular design constructed by bolting together steel tubing of the following outside diameters and gauges. Parallelogram frames are not acceptable.

1.	Main center stem: [6 inches] [152 mm] diameter, [11 gauge] [3.2 mm thick] of length sufficient to allow backstop height adjustment of plus or minus [6 inches] [152 mm].

***** 3-1/2 inches (89 mm) inside diameter steel pipe is required for top of T frame if attachment point is greater than 32 feet – 5 inches (9.9 m). *****

2.	Top member of T frame: [[4 inches] [102 mm] diameter, [11 gauge] [3.2 mm] steel tube.] [[3-1/2 inches] [89 mm] inside diameter steel pipe.]

***** Diagonal brace is typically positioned at rear of backstop but can also be provided as front brace. *****

3.	Diagonal [rear] [front] brace: Adjustable brace constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

4.	Folding side brace: Jackknife type, fully adjustable, self-locking in down position constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

D.	Pivot point: [1-1/4 inches] [32 mm] diameter solid steel shaft and [1/2 inch] [13 mm] steel plate hangers.

******************************************************************************

2.6	WALL MOUNTED FOLDING BACKSTOP

***** Draper, Inc. manufactures two models of wall mounted, folding backstop:

EZ Fold DGW		Wall mounted, side folding.

EZ Fold DUW		Wall mounted, up folding.

******************************************************************************

Use the following paragraphs to specify Model EZ Fold DGW. *****

A.	Type: Wall mounted, side folding basketball backstop; Model EZ Fold DGW as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Model EZ Fold DGW can be provided to position face of backstop a maximum of 12 feet (3658 mm) from supporting wall. *****

B.	Distance from face of backboard to supporting wall: [_____] [feet] [mm].

C.	Support framework: Backstop mounted to wall at four hinged points with two adjustable, rectangular side frames constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

1.	Extension adjustment: Plus or minus [6 inches] [152 mm].

2.	Hinges: Offset type allowing backstop to be positioned flat against wall. Provide 8 hinges for attachment of frames to wall and to backboard.

3.	Cross braces: [1-1/2 inches] [38 mm] diameter, [11 gauge] [3.2 mm thick] vertical and diagonal steel tubes for bracing rectangular side frames.

4.	Telescoping Locking brace: [1-7/8 inch] [4.7625 cm] OD and 1-1/2 inch [3.81 cm] OD steel tubes, running diagonally across the lower extension tubes. Direction of fold may be determined at time of installation by placement of the offset hinge brackets. Brace shall telescope and lock into place by means of a spring-loaded pin.

D.	Diagonal support chains: Two [1/4 inch] [6 mm] welded link chains with leveling turnbuckles.

E.	Wall pads: Provide [2 by 8 inches] [50 by 203 mm] southern yellow pine pads with chamfered edges and clear lacquer finish for support frame hinge and chain attachment points.

******************************************************************************

Use the following paragraphs to specify Model EZ Fold DUW. *****

A.	Type: Wall mounted, up folding basketball backstop; Model EZ Fold DUW as manufactured by Draper, Inc. Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Model EZ Fold DUW can be provided to position face of backstop a maximum of 12 feet (3658 mm) from supporting wall. *****

B.	Distance from face of backboard to supporting wall: [_____] [feet] [mm].

C.	Support framework: Backstop mounted to wall at four hinged points with two adjustable, rectangular top and bottom frames constructed from [2-1/2 inches] [64 mm] diameter, [13 gauge] [2.4 mm thick] outer tube and [2-1/4 inches] [57 mm] diameter, [14 gauge] [2 mm] inner tube.

1.	Extension adjustment: Plus or minus [6 inches] [152 mm].

2.	Hinges: Offset type allowing backstop to be positioned flat against wall. Provide 8 hinges for attachment of frames to wall and to backboard.

3.	Cross braces: [1/4 by 1-1/2 inches] [6 by 38 mm] diagonal steel bars for bracing rectangular top and bottom frames.

D.	Diagonal support chains: Two [1/4 inch] [6 mm] welded link chains with leveling turnbuckles.

E.	Wall pads: Provide [2 by 8 inches] [50 by 203 mm] southern yellow pine pads with chamfered edges and clear lacquer finish for support frame hinge and chain attachment points.

******************************************************************************

***** Standard operation for folding backstops is by electric winch. Draper, Inc. offers an optional manual winch. However, winch is not required for EZ Fold DGW side folding backstop. Include the following article for electric operation of folding backstops. *****

2.7	ELECTRIC WINCH

A.	Provide for each folding basketball backstop separate electric winch mechanism.

B.	Type: Fully enclosed, direct drive, worm gear, electric winch designed to hold backstop at any position during raising and lowering; Model 503285 Motorized Winch as manufactured by Draper, Inc.

1.	Motor: 3/4 HP, 11.5 AMP, capacitor type, 60 cycle, 115 volt, single phase with automatic thermal overload protection manufactured in compliance with NEMA specifications.

2.	Hoist cable: [1/4 inch] [6 mm] diameter, 7 by 19, galvanized aircraft cable with [7,000 pounds] [3175 kg] ultimate breaking strength.

3.	Roller: Spring-load providing tensioning pressure to ensure cable tracks evenly on grooved drum.

4.	Limit switches: Rotary counting up and down type, pre-wired to motor as integral part of winch.

5.	Winch to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

***** Standard control for electric winches is 3 position key lock wall switch. Optional control is remote wireless system or group control system. Use the following paragraph to specify key switch. *****

C.	Controls: Provide key lock, 3 position, momentary contact wall control switch to lower, raise, and stop backstop.

1.	Provide two keys.

2.	Provide with stainless steel cover plate.

***** Use the following paragraph to specify remote wireless control for electric winch. Transmitter Model 503061 can be used to operate a maximum of 99 winches. *****

C.	Controls: Remote radio control using portable, hand held transmitter.

- Provide one wireless receiver for each item being operated; Receiver Model 503060 as manufactured by Draper, Inc.

- Provide [one][_____] Hand Held Transmitter capable of controlling [99] electric winches; Transmitter Model 503061 as manufactured by Draper, Inc.

- Power supply: 9 volt battery.

- Frequency: 286-320 MHz.

- Operating range: [100 feet.] [30.48 m.]

***** Use the following paragraph to specify group control system. *****

C.	Controls: Group Control System as specified in subsequent paragraph.

***** Use the following paragraph to specify smart control system. *****

D.	Controls: Smart Gym Control System with electronic touch screen to enable the control of all electrically operated gym equipment. See subsequent paragraphs under 2.14.

2.8	MANUAL WINCH

***** Use this article to specify manual winch operation of folding backstops. *****

A.	Provide manual winch for lowering and raising each folding basketball backstop; Manual Winch Model 503286 as manufactured by Draper, Inc.

B.	Type: Sealed-bearing, self-locking, worm-gear type. Winch shall be capable of holding backstop in any position during raising and lowering.

1.	Provide winch with removable handle.

2.	Spool: Designed to lay cable uniformly without stacking.

3.	Hoist cable: [1/4 inch] [6 mm] diameter, 7 by 19, galvanized aircraft cable with [7,000 pounds] [3175 kg] ultimate breaking strength.

4.	Provide [2 by 8 inches] [50 by 203 mm] southern yellow pine pad with chamfered edges and clear lacquer finish for wall mounting winch.

***** Manual winches can also be operated with electric portable operators, Model 503249 Portable Operator for Manual Winch. Use the following paragraph to specify this option. *****

C.	Portable electric winch operator: Heavy-duty, reversible electric operator for manual winch with winch drive adapter and [[6] [50] feet] [[1.8] [15.2] m] power cord; Model 503249 Portable Operator for Manual Winch as manufactured by Draper, Inc.

2.9	SAFETY BELT AND LOCK

***** All folding backstops except side folding type, Model EZ Fold DGW, should be provided with safety belt. Use this article to specify 503229 Aut-O-Loc™ 2 Safety Belt. *****

A.	Provide each front and rear folding basketball backstop with safety belt and lock test to withstand [1750 pounds] [794 kg] free fall load.

B.	Safety lock: Inertia sensitive to automatically lock backstop in position at any time during storage, raising, or lowering. Sudden increase in either tension or speed shall activate lock.

C.	Safety belt: [2 inches] [51 mm] wide nylon belt rated at [6000 pounds] [2721 kg] breaking strength; Safety Belt [503229] [503230] as manufactured by Draper, Inc.

D.	Belt shall extend ([36 feet] [10.97 m]-503229) ([46 feet] [14.02 m]-503230) and shall be automatically retracted and stored on reel equipped with constant force spring. Operation and locking action shall be activated by centrifugal force to lock backstop before unit travels [12 feet] [3.7 m] of free fall.

- Unit shall incorporate automatic reset not requiring poles, ropes, levers, or buttons for resetting.

- Backstop must include Safety Strap to comply with ASTM F3731.

2.10	BACKBOARD

***** Draper, Inc. provides six types of backboard that can be used with folding backstops. However, not all types are appropriate for all backstops. Refer to Draper product literature and the following listing for available options.

Model 503136 - Rectangular, glass backboard for backstop Models TF-20, TF-20-B, TF-20-S, TF-20S-B, TF-20J, TF-20J-B, TB-25, TB-25-B, TB-25S, TB-25S-B, TB-26-B, DGW with Height Adjuster, and DUW with Height Adjuster.

Model 503138 – EZ-Strut Rectangular, glass backboard for backstop DGW without Height Adjuster, and DUW without Height Adjuster.

Model 503145 - Rectangular, fiberglass backboard for backstop Models TF-20, TF-20-B, TF-20-S, TF-20S-B, TF-20J, TF-20J-B, TB-25, TB-25-B, TB-25S, TB-25S-B, TB-26-B, DGW, and DUW.

Model 503148 - Fan shaped, fiberglass backboard for backstop Models TF-20, TF-20-B, TF-20-S, TF-20S-B, TF-20J, TF-20J-B, TB-25, TB-25-B, TB-25S, TB-25S-B, TB-26-B, DGW, and DUW.

Model 503143 - Fan shaped, aluminum backboard with competition stripping for Models TF-20, TF-20-B, TF-20-S, TF-20S-B, TF-20J, TF-20J-B, TB-25, TB-25-B, TB-25S, TB-25S-B, and TB-26-B.

Model 503150 - Fan shaped, glass backboard for backstop Models TF-20, TF-20-B, TF-20-S, TF-20S-B, TF-20J, TF-20J-B, TB-25, TB-25-B, TB-25S, TB-25S-B, TB-26-B, DGW, and DUW.

******************************************************************************

***** Include the following paragraphs for rectangular, glass backboard Model 503136. This backboard requires direct goal attachment. *****

A.	Type: Rectangular, glass, official size backboard to be used with direct attachment goal; Model 503136 as manufactured by Draper, Inc.

B.	Size: [72 inches] [1829 mm] wide by [42 inches] [1067 mm] high.

C.	Construction: [1/2 inch] [13 mm] thick fully tempered glass in extruded aluminum frame with mitered corners. Provide steel gusset type mounting corner brackets with slots for mounting backboard to support structure.

D.	Goal mounting assembly: Steel assembly secured to aluminum frame and equipped with steel sleeves through glass allowing rear structure to be secured to front mounting plate. Provide with holes and studs to secure backboard and goal directly to goal brace. Front plate provided with holes for goal attachment.

E.	Equip frame and goal mounting assembly with neoprene shock absorbing cushions.

F.	Permanently etch official white border and target area on front side of glass.

******************************************************************************

***** Include the following paragraphs for rectangular, glass backboard with center strut Model 503138. This backboard cannot be used with backstops with goal braces. *****

A.	Type: Rectangular, glass, official size backboard with center strut; Model 503138 as manufactured by Draper, Inc.

B.	Size: [72 inches] [1829 mm] wide by [42 inches] [1067 mm] high.

C.	Construction: [1/2 inch] [13 mm] thick fully tempered glass in extruded aluminum frame with mitered corners and vertical aluminum strut in center on back side to alleviate stress on glass. Provide steel gusset type mounting corner brackets with slots for mounting backboard to support structure.

D.	Goal mounting assembly: Steel assembly secured to aluminum frame and equipped with steel sleeves through glass allowing rear structure to be secured to front mounting plate. Provide with holes and studs to secure backboard and goal directly to goal brace. Front plate provided with holes for goal attachment.

E.	Equip frame and goal mounting assembly with neoprene shock absorbing cushions.

- Permanently etch official white border and target area on front side of glass.

******************************************************************************

***** Include the following paragraphs for rectangular, fiberglass backboard Model 503145. *****

A.	Type: Rectangular, fiberglass, official size backboard; Model 503145 as manufactured by Draper, Inc.

B.	Size: [72 inches] [1829 mm] wide by [42 inches] [1067 mm] high.

C.	Construction: Backboard is molded from high strength fiberglass with ribs and heavy flanges for rigidity. Backboard is complete with threaded inserts located at traditional fan backboard mounting dimensions (35” x 20”) and factory drilled goal mounting holes.

D.	Finish: White finish with permanently silk screened, 2” wide orange perimeter and target area markings.

******************************************************************************

***** Include the following paragraphs for fan shaped, fiberglass backboard Model 503148. *****

A.	Type: Fan shaped, fiberglass, official size backboard; Model 503148 as manufactured by Draper, Inc.

B.	Overall size: [54 inches] [1372 mm] wide by [39 inches] [919 mm] high by [1-1/2 inches] [38 mm] thick.

C.	Construction: Impregnated honeycomb core with fiberglass front and back facings. Attachment holes made through solid plastic blocks in honeycomb. Equip with mounting brackets on back side and factory drill holes for goal mounting.

D.	Finish: Factory applied, white, high gloss gel finish with molded-in orange border and target lines.

******************************************************************************

***** Include the following paragraphs for fan shaped, cast aluminum backboard with competition striping; Model 503143. *****

A.	Type: Fan shaped cast aluminum backboard with competition striping; Model 503143 as manufactured by Draper, Inc.

B.	Overall size: [54 inches] [1372 mm] wide by [39 inches] [991 mm] high.

C.	Construction: Cast aluminum with smooth front, backside reinforcing ribs, and [1-1/2 inches] [38 mm] perimeter flange. Furnish 12 tapped holes on back to accommodate standard mounting attachment without exposed bolt heads of front face. Backboard drilled for front mount type goal.

D.	Finish: White, non-glare enamel with [2 inches] [51 mm] wide, orange, competition target and border lines.

******************************************************************************

***** Include the following paragraphs for fan shaped, glass backboard Model 503150. *****

A.	Type: Fan shaped, glass, official size backboard; Model 503150 as manufactured by Draper, Inc.

B.	Overall size: [54 inches] [1372 mm] wide by [39 inches] [991 mm] high.

C.	Construction: [1/2 inch] [13 mm] thick fully tempered glass in aluminum perimeter frame. Equip frame with continuous vinyl rubber channel to cushion glass. Provide on backside four mounting brackets with slots for mounting backboard to support structure.

D.	Goal mounting assembly: Aluminum plate secured to aluminum frame. Provide goal mounting holes.

E.	Permanently etch official white border and target area on front side of glass.

******************************************************************************

2.11	GOALS

***** Draper, Inc. provides four goals for folding backstops:

Model 503572 - Front mounted, heavy duty goal.

Model 503576 – Breakaway goal with standard no-tie net attachment.

Model 503581 - Breakaway goal with tube-tie net attachment.

Model 503040 – 180 Degree Breakaway goal with tube-tie net attachment.

******************************************************************************

***** Include the following paragraphs for front mounted, heavy duty goal Model 503572. This goal can be mounted on glass, fiberglass, steel, aluminum and wood backstops. *****

A.	Type: Heavy duty, front mounted goal fabricated from steel rod and steel plate; Model 503572 as manufactured by Draper, Inc.

B.	Goal shall support [800 pounds] [363 kg] at outer edge of ring and shall flex downward [2-3/4 inches] [70 mm] without permanent damage.

C.	Ring: Fabricated from [5/8 inch] [16 mm] diameter high strength, cold drawn alloy steel rod formed into [18 inches] [457 mm] ring. Provide with 12 no-tie net attachment clips welded to ring. Rigidly brace ring with [5/8 inch] [16 mm] diameter high strength steel rod welded to mounting plate.

D.	Mounting plate: [8 gauge] [4.4 mm] steel plate bracket with mounting holes and designed to position inside of ring [6 inches] [152 mm] from backboard.

E.	Finish: Orange enamel.

F.	Anti-whip net: Top half made of durable fibers encased in nylon to prevent net from whipping up on rim. Lower half all nylon. Color white.

G.	Mounting hardware: Zinc plated.

******************************************************************************

***** Include the following paragraphs for breakaway goal with standard no-tie net attachment Model 503576. This goal can be mounted on glass, fiberglass, steel, aluminum and wood backstops. *****

A.	Type: Breakaway goal with standard no-tie net attachment and designed to withstand shock loads from player slam dunking or hanging on rim; Model 503576 as manufactured by Draper, Inc.

B.	Rim shall deflect down when [230 pounds] [104 kg] static load is applied and return to playing position when load is removed. Breakaway point shall be adjustable from [160 to 230 pounds] [73 to 104 kg].

C.	Ring shall have rebound characteristics identical to those of non-moveable ring. Factory set proper flex and rebound requirements. Goal features easy-adjsut system to allow users to adjust the breakaway point form 160 pounds to 230 lbs.

D.	Ring: Fabricated from [5/8 inch] [16 mm] diameter steel rod formed into [18 inches [457 mm] ring. Rigidly brace with die cut steel braces welded to rim.

E.	Mounting plate: Heavy duty steel plate bracket with mounting holes and designed to position inside of ring [6 inches] [152 mm] from backboard.

F.	Rim shall be provided with 12 formed wire “no-tie” net attachment clips on which the net securely hooks.

G.	Finish: Powder coated orange paint.

H.	Anti-whip net: Top half made of durable fibers encased in nylon to prevent net from whipping up on rim. Lower half all nylon. Color white.

I.	Mounting hardware: Zinc plated.

******************************************************************************

***** Include the following paragraphs for breakaway goal with tube-tie net attachment Model 503581. This goal can be mounted on glass, fiberglass, steel, aluminum and wood backstops. *****

A.	Type: Breakaway goal with tube-tie net attachment and designed to withstand shock loads from player slam dunking or hanging on rim; Model 503581 as manufactured by Draper, Inc.

B.	Rim shall deflect down when [230 pounds] [104 kg] static load is applied and return to playing position when load is removed. Breakaway point shall be adjustable from [160 to 230 pounds] [73 to 104 kg].

C.	Ring shall have rebound characteristics identical to those of non-moveable ring. Factory set proper flex and rebound requirements. Goal features easy-adjust system to allow users to adjust the breakaway point from 160 pounds to 230 lbs.

D.	Ring: Fabricated from [5/8 inch] [16 mm] diameter steel rod formed into [18 inches [457 mm] ring. Rigidly brace with die cut steel braces welded to rim.

E.	Mounting plate: Heavy duty steel plate bracket with mounting holes and designed to position inside of ring [6 inches] [152 mm] from backboard.

F.	Provide series of small tubes welded to bottom of rim providing for attachment of net by threading [1/8 inch] [3.2 mm diameter] nylon cord through tubes.

G.	Finish: Powder coated orange paint.

H.	Anti-whip net: Top half made of durable fibers encased in nylon to prevent net from whipping up on rim. Lower half all nylon. Color white.

I.	Mounting hardware: Zinc plated.

******************************************************************************

***** Include the following paragraphs for 180 degree breakaway goal with tube-tie net attachment Model 503040. This goal can be mounted on glass, fiberglass, steel, aluminum and wood backstops. *****

A.	Type: 180 degree breakaway goal with tube-tie net attachment and designed to withstand shock loads from player slam dunking or hanging on rim; Model 503040 as manufactured by Draper, Inc.

B.	Rim shall deflect down when downward pressure exceeding the release setting is applied to any location within 90 degrees either to the left or right of the point farthest from the point on the ring farthest from the backboard and return to playing position when load is removed. Breakaway point shall be adjustable form [160 to 230 pounds] [73 to 104 kg].

C.	Ring shall have rebound characteristics identical to those of non-moveable ring. Factory set proper flex and rebound requirements.

D.	Ring: Fabricated from [5/8 inch] [16 mm] diameter steel rod formed into [18 inches [457 mm] ring. Rigidly brace with die cut steel braces welded to rim.

E.	Mounting plate: Heavy duty steel plate bracket with mounting holes and designed to position inside of ring [6 inches] [152 mm] from backboard.

F.	Provide series of small tubes welded to bottom of rim providing for attachment of net by threading [9 gauge] [3.7 mm diameter] wire through tubes.

G.	Finish: Powder coated orange paint.

H.	Anti-whip net: Top half made of durable fibers encased in nylon to prevent net from whipping up on rim. Lower half all nylon. Color white.

- Mounting hardware: Zinc plated.

******************************************************************************

2.12	HEIGHT ADJUSTER

***** All folding backstops can be equipped with height adjusters allowing backboard to be positioned such that goal is between 8 and 10 feet (2438 to 3048 mm) above court floor. Manual and motorized height adjusters are provided:

503093— For motorized 8'-10' (244 cm-305 cm) height adjustment of rectangular bank.

503097— For motorized 8'-10' (244 cm-305 cm) height adjustment of fan bank.

503095— For motorized 8'-10' (244 cm-305 cm) height adjustment of rectangular bank with wireless remote control.

503098— For motorized 8'-10' (244 cm-305 cm) height adjustment of fan bank with wireless remote control.

503096— For motorized 8'-10' (244 cm-305 cm) height adjustment of rectangular bank with EZ Stick Power Wand.

503099— For motorized 8'-10' (244 cm-305 cm) height adjustment of fan bank with EZ Stick Power Wand.

503092— For manual 8'-10' (244 cm-305 cm) height adjustment of rectangular bank.

503094— For manual 8'-10' (244 cm-305 cm) height adjustment of fan bank.

A.	Type: Mechanism for [manually] [electrically] adjusting height of [fan shaped] [rectangular] backboard and goal; Model [503092] [503093] [503094] [503095] [503096] [503097] [503098] [503099] Height Adjuster as manufactured by Draper, Inc.

B.	Adjustment range: Goal position from [8 to 10 feet] [2438 to 3048 mm] above court floor.

C.	Construction: Steel angle frame attaching to backboard, double slip tube guide assembly, clamp type connectors, and other required attachment hardware.

D.	Operation: [Provide [1-1/4 inches] [32 mm] acme threaded rod and nut assembly, Timken bearing, and crank for manual operation.] [Provide electric, reversible, linear actuator with cam style limit switches, [key switch, and cover plate] [power wand] [group controller as specified in later section of these specifications].]

2.13	SAFETY EDGE PADDING

***** Model 5032XX Safe-Edge Padding is a bolt-on padding with molded-in steel track. Bolt on padding is covered by 8 year warranty. *****

A.	Type: Foam padding for bottom edge and corners of backboard to provide safety protection to meet NCAA and NFHS requirements; Model 5032XX Safe-Edge Padding as manufactured by Draper, Inc.

B.	Construction: Molded foam, [2 inches] [51 mm] wide and wrapping around edges [3/4 inch] [19 mm]. Equip with molded-in steel track and bolt-on attachment system. Padding shall cover bottom edge of backboard and extend [15 inches] [381 mm] up sides.

***** Standard padding color is gray as approved by NCAA. Draper, Inc. provides eleven additional optional colors for Model 5032XX, bolt-on type. *****

- Color: [Gray] [Royal blue] [Scarlet] [Columbia blue] [Navy] [Kelly green] [Gold] [Forest green] [Orange] [Purple] [Black] [Maroon].

- Backstop to comply with ASTM F3731 – Standard Guide for Ceiling Suspended and Wall Mounted Basketball Backstops. Non-compliant backstops shall not be acceptable substitutes.

2.14	GYM EQUIPMENT GROUP CONTROL SYSTEM

*****Include the following paragraphs to specify a Smart Gym Group Control System. *****

A. 	User Interface: Draper Model No. 503357 EZ-Pad 3.0 Color Touch Screen

1.	Size: 7” dia. touch screen with trim ring.

2.	Communications: Ethernet communications requiring CAT-5e or better cable – by electrician. Touch screen must be within 300’ of a relay box.

3.	Input Power: Power over ethernet supplied by relay enclosure.

4.	Mounting: Flush Mounted to standard 5-5/8” x 4-1/2” x 2-1/2” electrical box (RACO Box #942 or equivalent)

B.	Relays: Draper Model No. 503358 EZ-Pad 3.0 Realy Box

1.	Enclosure: Surface mounted 16” x 12” x 4” hinged steel box.

2.	Configuration: Each Relay Box includes two banks of relays. Each bank includes sufficient relays to operate four directional devices from input voltage and one on/off auxiliary device with an outside power source.

3.	Input Power: Each Relay Box receives 2 (one for each bank of relays) dedicated 30-Amp Circuits.

4.	UL Listing: Relay enclosure is listed as a complete assembly as meeting requirements of UL Standard 66010-2-201-Standard for Safety Requirements for Electrical Equipment for Measurement, Control and Laboratory Use.

C.	Password Protection: Control system is protected by multi-level password protection

1.	User password only allows someone to operate devices individually or groups as defined in system programming.

2.	Administrator password allows same function as user password plus allows initial set up and other program modifications. Administrator password also allows user to name connected devices, name relay boxes, define and name groups, define timeout period and change passwords.

3.	System includes a hard coded backdoor password that is available from manufacturer to use should other passwords be lost or forgotten.

4.	Touch Screen automatically returns to inactive mode if inactive for more than the user defined timeout period.

D.	Networking:

1.	Relay Boxes can be combined in unlimited quantities to operate as many devices as may be required.

2.	Each Relay box can operate up to two touch screens

3.	All communications over ethernet connections using CAT-5e or better cable.

4.	Relay boxes must be within 300 feet of another relay box and touch screens must be within 300 feet of relay box to which it is connected

E.	Programming:

1.	All programming can be done from touch screen or from realy box interface

2.	All programming is soft coded, there are any dip switches to address devices to be set during system set up.

3.	System allows for creation of up to 64 unique and namable groups.

4.	System will allow groups of up to 8 devices to run simultaneously. System includes logic that prevents the creation of groups that might overload input circuits. To do this it will allow no more than two devices connected to any relay bank and a maximum of 4 devices in the same realy box. To have groups of 8 devices, two or more relay boxes are required.

F.	Emergency Operation: System allows for devices or groups to be operated from relay panel if touch screen(s) were to become disabled. Devices are operated following instructions on LED screen and push buttons located on relay box control boards. User defined password(s) are required to operate devices from relay panels..

2.15	GYM EQUIPMENT SMART GROUP CONTROL SYSTEM

*****Include the following paragraphs to specify a Smart Gym Group Control System. *****

A. 	Provide Smart Gym Group Control System capable of controlling Electric Divider Curtains, Electric Height Adjusters, Basketball Backstops with Electric Winches, Wrestling Mat Lifters, Bleachers and other electrical devices from a centralized location. Group Control Systems to be fully programmable to operate equipment in a manner as required by project conditions and shall be capable of operating equipment provided by others. Group Control System must be capable of operating thousands of devices and can be programmed to operate devices individually or as simultaneously as members of one or more groups. Group functions are limited by the number of circuits, the specific items connected to each circuit and what devices an operator can reasonably observe during operation. Careful pre-planning can allow for large and highly functional groups and even groups that can simultaneously operate devices in opposing directions.

B. 	Each system includes one pre-programmed Draper model 503024 Control Processor Assembly in 18" x 18" x 6" surface mounted enclosure. Control Processor is connection point for all low voltage power and communications and requires connection to a standard 110/120v receptacle.

C.	Devices are controlled via relay panels that are available in six different configurations that are chosen to match specific project conditions. Relays are flexible and can be programmed to operate in a momentary (for all directional gym equipment devices) or maintained (for on/off type devices). Directional devices require two relays each and on/off devices require one relay each. Relays are capable of controlling devices up to 277V. Relay panels allow shared or dedicated circuits. Relay panels include ability to individually operate devices in the event of interface or processor failure. Quantity of _____ [503062 – 8 relay panel][503063-16 relay panel][503064 – 24 relay panel][503066 – 32 relay panel][503067 -40 relay panel][503068 – 48 relay panel][503069 – 56 relay panel] required to match project requirements.

*****NOTE: Smart Gym Control system has multiple options for the user interface that includes three different wall mounted touch screen and a Wi-Fi kit utilizing a tablet device. Each Smart Gym System requires at least one interface, but any number and combination of interfaces can be used on the same system. Chose one or more of the below interfaces. *****

*****Use the following paragraph to specific 503338 - 4.3” Touch Screen*****

D. 	Interface with Draper Smart Gym Control System to be Model No. 503338 - 4.3 Inch diagonal flush mounted text style Ethernet color touch screen. Touch Screen to be custom programmed to match the project conditions. Touch screen to have a modern contoured appearance with a smooth black finish and an active matrix color display. Touch Screen communicates with the Smart Gym Processor assembly via Cat 5 or Cat 6 Ethernet communications. Touch screen mounts in a horizontally mounted typical 2” x 3” single gang switch box and should be mounted in full view of equipment being operated. Operating devices requires entry of a four digit password that is fully programmable by the user and includes a hard coded back door password that can be provided by Draper only in the event that user password is lost or forgotten. A minimum of one touch screen should be specified in each room with equipment being operated, but multiple touch screens of this and other models can work on a single processor.

*****Use the following paragraph to specify 503339 - 7” Touch Screen*****

D. 	Interface with Draper Smart Gym Control System to be a Model No. 503339 – 7 Inch diagonal flush mounted graphic style Ethernet color touch screen. Touch Screen to be custom programmed to match the project conditions. Touch screen to have clean modern appearance, thin profile, smooth black finish and an 800 x 480 WVGA resolution active matrix color display. Touch screen to include graphical court display designed to match exact building conditions which make navigation and control of gym equipment very easy. Touch Screen communicates with the Smart Gym Processor assembly via Cat 5 or Cat 6 Ethernet communications. Touch screen mounts in a typical 2-gang (4” x 3”) or 3-gang (6” x 3”) switch box and should be mounted in full view of equipment being operated. Touch screen to require entry of four-digit security code prior to accessing control screens. Operating devices requires entry of a four digit password that is fully programmable by the user and includes a hard coded back door password that can be provided by Draper only in the event that user password is lost or forgotten. A minimum of one touch screen should be specified in each room with equipment being operated, but multiple touch screens of this and other models can work on a single processor.

*****Use the following paragraph to specify 503340 – 10.1” Touch Screen*****

- Interface with Draper Smart Gym Control System to be a Model No. 503340 – 10.1 Inch diagonal flush mounted graphic style Ethernet color touch screen. Touch Screen to be custom programmed to match the project conditions. Touch screen to have clean modern appearance, thin profile, smooth black finish and a 1280 x 800 WVGA resolution active matrix color display. Touch screen to include graphical court display designed to match exact building conditions which make navigation and control of gym equipment very easy. Touch Screen communicates with the Smart Gym Processor assembly via Cat 5 or Cat 6 Ethernet communications. Touch screen mounts in a typical 2-gang (4” x 3”) or 3-gang (6” x 3”) switch box and should be mounted in full view of equipment being operated. Touch screen to require entry of four-digit security code prior to accessing control screens. Operating devices requires entry of a four digit password that is fully programmable by the user and includes a hard coded back door password that can be provided by Draper only in the event that user password is lost or forgotten. A minimum of one touch screen should be specified in each room with equipment being operated, but multiple touch screens of this and other models can work on a single processor.

*****Use the following paragraph to specify 503342 – Smart Gym Wi-Fi Kit and tablet device*****

E. 	Interface with Draper Smart Gym Control System to be a Model No. 503342 Wi-Fi Kit and mobile device with the appropriate application and project specific program loaded on that device. System includes a factory installed router in the Smart Gym Processor Assembly and one remote wireless access point that is to be mounted at a high point at approximately the center of the gymnasium. Wireless Access Point connects to a standard 110/120V receptacle and has a range of about 150 feet in each direction [For large facilities, more than one wireless access point may be required – specific additional Model No. 503343 Wireless Access Points as required.] Wi-Fi Kit provides a private network that requires a specific mobile application and project specific program. Control system shall not be connected to any outside network, computer or internet to greatly reduce the possibility of unauthorized or unsafe operation of the equipment. Mobile Tablet device to be [Draper Model No 503345 – Apple I-Pad® 9.7” Tablet with Smart Gym App and Program] [Draper Model No 503346 – Samsung Galaxy® 9.7” Tablet with Smart Gym App and Program][Draper Model No 503347 – Smart Gym App and Program loaded on owner supplied IOS® or Android® device, which requires device to be shipped to Draper] Operating devices requires entry of a four digit password that is fully programmable by the user and includes a hard coded back door password that can be provided by Draper only in the event that user password is lost or forgotten. A minimum of interface device is required, but multiple interfaces of this and other models can work on a single processor.

F.	ELECTRICAL CONTRACTOR SHALL PROVIDE AND INSTALL: All conduits, complete with wire from power source to control processor, from power source to relay panels, from relay panels to devices being operated, from control processor to relay panels (low voltage), from control processor to touch screen (Ethernet); If option Wi-Fi Tablet Control Kit is Included – all conduits including wire from power source to Wireless Access Point and from control processor to Wireless Access Point (Ethernet); and appropriate wall box for specific touch screen as indicated on submittal document for that product.

2.15	ACCESSORIES

A.	Provide backstop with backstop hangers, clamps, brackets, fasteners, and all other hardware required for complete, functional, rigid assembly and installation.

PART 3 - EXECUTION

3.1	COORDINATION

A.	Coordinate provision of basketball backstops with construction of [wall] [roof and ceiling framing] supporting basketball backstop to ensure proper support and method of attachment.

B.	Coordinate support of backstops to ensure proper distribution of loads and adequacy of attachment points. Provide additional structural framing members as required.

***** Include the following paragraph if either electrically operated winch or electrically operated height adjuster is being specified. *****

C.	Coordinate electrical requirements for electrically operated [winch] [height adjuster] to ensure proper power source, conduit, wiring, and boxes for keyed switches.

D.	Prior to installation, verify exact locations of backstops.

3.2	INSTALLATION

A.	Install folding basketball backstops in accordance with approved shop drawings and manufacturer's instructions.

B.	Install backstops, backboards, and goals plumb, level, and rigid. Attach to [wall] [roof] framing with anchors of size and type recommended by manufacturer.

***** Regulation goal height is 10 feet (3048 mm). Other heights may be required depending on intended usage and age and skill levels. Height adjusters can also be provided to allow the flexibility of varying goal height. *****

C.	Install backboards such that goal is [10 feet] [3048 mm] [_____] above court floor. After installing, verify that mounting height is correct.

D.	Install [manual] [electrically operated] winches, hoisting cables, [safety belt and lock] securely to operate properly and smoothly to safely lower and raise folding backstops.

3.3	FIELD QUALITY CONTROL

A.	Operate each folding basketball backstop a minimum of three times to ensure proper lifting and lowering. Adjust as required to ensure smooth operation and accurate positioning.

***** Include the following paragraph if height adjusters are being specified. *****

B.	Operate each backboard and goal height adjuster to ensure proper movement. Adjust [limit switches and] mechanism as required to ensure smooth operation and accurate positioning.

3.4	CLEANING

A.	Remove protective wrappings, wash surfaces, and attach nets.

3.5	DEMONSTRATION

A.	Demonstrate to Owner's designated representative complete operation and required maintenance for folding basketball backstops.

B.	Submit operation and maintenance manuals in accordance with Section 01 78 00 [01770] - Closeout Procedures.

END OF SECTION